Material Receiving & Inspection Report for Solar Power Plant (Rooftop & Ground Mount)

1. Introduction

The Material Receiving & Inspection Report (MRIR) is a crucial document used for quality assurance and compliance during the procurement and installation phases of a solar power plant. This report ensures that all materials received at the site conform to the required specifications, quality standards, and project requirements.

2. Project Details

- Project Name: ____________________________

- Project Location: ____________________________

- Type of Installation: Rooftop / Ground Mount

- Date of Inspection: _______________

- Inspection Conducted By: ____________________________

- Supplier Name: ____________________________

- Delivery Challan No.: ____________________________

- Invoice No.: ____________________________

3. Material Inspection Checklist

| Material Category | Description | Quantity Ordered | Quantity Received | Visual Inspection | Compliance with Specs | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| Solar Modules | Make, Model, Wattage |  |  | Yes / No | Yes / No |  |
| Mounting Structures | Galvanized steel/aluminium |  |  | Yes / No | Yes / No |  |
| Inverters | Make, Model, Capacity |  |  | Yes / No | Yes / No |  |
| AC/DC Cables | Type & Length |  |  | Yes / No | Yes / No |  |
| Combiner Boxes | Type & Capacity |  |  | Yes / No | Yes / No |  |
| Earthing Materials | Copper/Aluminium |  |  | Yes / No | Yes / No |  |
| Transformers | Capacity & Type |  |  | Yes / No | Yes / No |  |
| Switchgear & Protection Devices | Breakers, Fuses |  |  | Yes / No | Yes / No |  |
| Monitoring System | SCADA / Data Logger |  |  | Yes / No | Yes / No |  |
| Fasteners & Accessories | Bolts, Nuts, Clamps |  |  | Yes / No | Yes / No |  |

4. Visual Inspection & Quality Check

- Packaging Condition:  Good / Damaged

- Physical Damage to Material:  Yes / No

- Proper Labeling & Markings:  Yes / No

- Conformity to Approved Samples:  Yes / No

- Protective Coating & Finishing:  Yes / No

5. Compliance Check

- Certification & Standards Compliance:

  - IEC 61215, IEC 61730 (for Solar Modules)

  - IEC 62109 (for Inverters)

  - IEC 62852, IEC 62930 (for Cables)

  - BIS Certification (as applicable)

- Test Certificates & Manufacturer Documents:

  - Yes / No (Attach copies)

- Warranty & Guarantee Documents:

  - Yes / No

6. Observations & Issues Identified

7. Corrective Actions & Recommendations

8. Final Acceptance Status

- Materials Accepted:  Yes / No

- Materials Rejected:  Yes / No

- Materials Sent for Further Inspection:  Yes / No

9. Signatures & Approval

- Receiving Engineer: _________________________ (Signature & Date)

- Quality Inspector: _________________________ (Signature & Date)

- Project Manager: _________________________ (Signature & Date)