# Project Proposal & Feasibility Study for Ground Mount Solar Power Plant

## 1. Introduction

With the increasing demand for renewable energy, ground-mounted solar power plants have emerged as a cost-effective and sustainable solution. This report presents a detailed feasibility study, including technical, financial, and regulatory aspects, for a ground-mounted solar power plant.

## 2. Project Overview

- Project Name: Ground Mount Solar Power Plant

- Location: [Insert Site Address]

- Capacity: [kWp to MW]

- System Type: Grid-Tied / Off-Grid / Hybrid

- Land Area Required: [Acres]

- Client Name: [Insert Client Name]

## 3. Technical Feasibility Study

### 3.1 Site Assessment

- Land Type: Agricultural / Industrial / Commercial / Barren Land

- Soil Testing Report: Required for foundation suitability

- Topography Analysis: Flat / Slightly Sloped / Hilly Terrain

- Shading Analysis: Performed using Helioscope, PVsyst, or SketchUp

- Panel Tilt & Orientation: Optimized for maximum energy generation

### 3.2 Solar PV System Design

- Proposed Solar Capacity: [MW]

- Panel Type & Efficiency: Mono-crystalline / Poly-crystalline / Bifacial

- Number of Panels: TotalSolarCapacityW/PanelWattageW

- Inverter Sizing: TotalPVCapacitykWxInverterEfficiency

- Battery Backup (if applicable): Based on load demand

### 3.3 Electrical Design & Components

- Cable Sizing Calculation: Based on voltage drop and current rating

- Protection System: MCBs, MCCBs, SPD, Earthing, and Lightning Protection

- System Losses Consideration: Inverter efficiency, cable losses, shading, and temperature impact

## 4. Financial Feasibility Study

### 4.1 Project Cost Estimation

- Solar Panels Cost: $[XX] per kW

- Inverter Cost: $[XX] per kW

- Installation & Labor Cost: $[XX]

- Balance of System (BoS) Cost: $[XX]

- Land Acquisition Cost (if applicable): $[XX]

- Total Project Cost: Sum of all components

### 4.2 Payback Period Calculation

Payback Period (Years)=Total Project CostAnnual Savings

- Annual Energy Production = System Capacity x Performance Ratio x Sun Hours per Day x 365

- Annual Savings = Energy Generated x Electricity Tariff

### 4.3 Return on Investment (ROI)

ROI (%)=Annual SavingsTotal Project Cost×100

### 4.4 Levelized Cost of Energy (LCOE)

LCOE=Total System CostLifetime Energy Production

## 5. Regulatory & Compliance Study

- Government Subsidy & Incentives: Based on national/state policies

- Environmental Clearance: Required for large-scale projects

- Grid Connection & PPA Agreements: As per DISCOM guidelines

- Safety & Performance Standards: IEC 61215, IEC 61730, NEC 690, IS 14286

## 6. Environmental Impact Assessment

- CO2 Reduction: AnnualEnergyGeneratedxGridEmissionFactor

- Reduction in Fossil Fuel Dependency

- Impact on Local Ecology & Land Use

## 7. Conclusion & Recommendations

- System Feasibility: [Highly Feasible / Moderate / Not Feasible]

- Financial Viability: [Profitable / Break-even / Not Profitable]

- Future Expansion Possibilities: [Scalability Options]

- Final Decision Recommendation

## 8. Supporting Documents

- Solar Design Layout (AutoCAD / SketchUp)

- PVsyst Simulation Report

- Financial & ROI Calculation Sheet