Site Survey Report & Assessment Data for Rooftop Solar Power Plant

1. Introduction

A site survey and assessment are essential steps in determining the feasibility of installing a rooftop solar power plant. This report outlines key parameters required to evaluate site conditions, electrical infrastructure, shading analysis, and structural suitability.

2. Site Details

- Site Name: [Project Name]

- Location: [Address]

- Latitude & Longitude: [GPS Coordinates]

- Survey Date: [Date]

- Survey Conducted By: [Engineer Name]

3. Structural Assessment

3.1 Roof Type & Material

- Roof Type: RCC / Metal / Tile / Other

- Roof Condition: New / Moderate / Old (Check for cracks, corrosion, or damage)

- Roof Load Capacity: [kN/m²] (Structural Engineer Recommendation)

- Roof Angle & Orientation: [Degrees]

- Available Rooftop Area: [sq. meters]

3.2 Shading Analysis

- Nearby Obstacles: Trees / Buildings / Towers / Other

- Shading Impact Analysis: PVsyst / Helioscope / SketchUp simulation

- Optimal Panel Placement Strategy: Based on sun path & obstruction-free zones

4. Solar Irradiance & Climate Data

- Average Solar Irradiance: [kWh/m²/day] (Based on meteorological data)

- Peak Sun Hours: [Hours]

- Temperature Range: [°C]

- Wind Speed: [m/s] (As per IS 875 Part-3)

- Snow Load (if applicable): [kN/m²]

- Dust & Pollution Level: [High / Medium / Low]

5. Electrical Assessment

5.1 Grid Connection & Load Analysis

- Grid Availability: Single Phase / Three Phase

- Voltage & Frequency: [V, Hz]

- Existing Load Demand: [kW]

- Power Factor: [Value]

- Transformer Capacity (if applicable): [kVA]

5.2 Earthing & Protection System

- Earthing Resistance: [Ohms] (As per IEC 60364-5-54)

- Lightning Protection Required: Yes / No

- Surge Protection Devices (SPD) Required: Yes / No

6. Solar Panel & Mounting Assessment

- Proposed System Capacity: [kWp]

- Panel Orientation: South / East-West

- Mounting Structure Type: Fixed Tilt / Adjustable / Ballasted

- Wind Load Consideration: As per IS 875 Part-3

- Row Spacing Calculation: Based on inter-row shading & tilt angle

7. Site Survey Checklist

7.1 General Site Information

✔ Site location & GPS Coordinates
✔ Roof Type & Condition
✔ Available Space Measurement
✔ Electrical Infrastructure Status
✔ Grid Connectivity & Load Demand
✔ Environmental Factors (Wind, Temperature, Shading)
✔ Structural Load-Bearing Capacity
✔ Safety & Accessibility Assessment

8. Conclusion & Recommendations

- Overall Site Feasibility: Feasible / Requires Modifications / Not Feasible

- Key Challenges Identified: [Shading, Structural, Electrical Issues]

- Final Recommendation: Proceed with Installation / Require Modifications / Not Recommended

9. Supporting Documents

- Site Photos & Roof Measurement Drawings

- PVsyst / Helioscope Simulation Report

- Structural Load Assessment Report

- Electrical Load Analysis Sheet