# Checklist for Availability of Approved Design Drawings & Documents for Rooftop and Ground Mount Solar Power Plants Installation and Commissioning

## 1. Introduction

Ensuring the availability of all approved design drawings and documents is crucial for the smooth execution of solar power plant installation and commissioning. This checklist provides a detailed breakdown of the required documents for both rooftop and ground mount solar projects.

## 2. General Documentation Checklist

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Project Approval Documents | Approval from local authorities, utility companies, and regulatory bodies |  |
| Land/Rooftop Ownership Documents | Proof of ownership or lease agreement for the installation site |  |
| Environmental Clearance | Compliance with environmental regulations and impact assessments |  |
| Structural Stability Certificate | Certification confirming structural adequacy for rooftop systems |  |
| Grid Interconnection Agreement | Approval from the utility company for grid connectivity |  |

## 3. Approved Design Drawings Checklist

### 3.1 Civil & Structural Drawings

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Site Layout Plan | Depicts module placement, inverter rooms, and access pathways |  |
| Structural Load Analysis Report | Confirms structural integrity for rooftop/ground mount systems |  |
| Foundation Design Drawings | Specifies depth, material, and load-bearing requirements |  |
| Mounting Structure Layout | Details mounting frame specifications and wind load analysis |  |
| Drainage and Water Runoff Plan | Ensures proper drainage around the installation area |  |

### 3.2 Electrical Drawings

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Single Line Diagram (SLD) | Shows electrical connections, inverters, and protection devices |  |
| String Layout & Wiring Diagram | Defines the arrangement of solar panels and electrical wiring |  |
| Earthing & Lightning Protection Plan | Specifies grounding system and lightning arrestors |  |
| Cable Routing & Trench Layout | Shows cable pathways for safety and efficiency |  |
| Load Flow & Voltage Drop Analysis | Ensures electrical efficiency and stability |  |

### 3.3 Mechanical Drawings

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Module Mounting System Design | Details racking system configuration and load distribution |  |
| Tracker System Layout (if applicable) | Specifies solar tracker movement and motor system |  |
| Fasteners & Fixings Specification | Ensures compliance with industry standards |  |
| Access & Safety Railings Design | Provides fall protection for rooftop installations |  |

## 4. Equipment & Component Documentation Checklist

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Solar Module Specification Sheet | Details efficiency, wattage, and performance parameters |  |
| Inverter Specification & Compliance | Includes datasheets, efficiency ratings, and safety certificates |  |
| Battery Storage System Documents (if applicable) | Provides DoD, SoC, and cycle life calculations |  |
| AC/DC Distribution Panel Drawings | Specifies switchgear, breakers, and control panels |  |
| Protection & Control Scheme | Defines fuses, relays, and surge protection devices |  |

## 5. Testing & Commissioning Documentation Checklist

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Factory Acceptance Test (FAT) Reports | Verification of equipment compliance before dispatch |  |
| Site Acceptance Test (SAT) Reports | Ensures proper installation and functionality at site |  |
| Pre-Commissioning Checklist | Confirms readiness before system energization |  |
| Performance Verification Test Reports | Includes IV curve tracing, insulation resistance tests, etc. |  |
| As-Built Drawings | Final project drawings reflecting installed conditions |  |

## 6. Conclusion

Having all approved design drawings and documents is essential for successful project execution. This checklist ensures that every aspect is verified before starting installation and commissioning.