Checklist for Verification of Delivered Materials vs. Bill of Materials (BoM) for Rooftop and Ground Mount Solar Power Plants Installation and Commissioning

1. Introduction

Ensuring that all delivered materials match the Bill of Materials (BoM) is crucial for the successful installation and commissioning of solar power plants. This checklist provides a structured approach to verify material compliance and prevent discrepancies in both rooftop and ground mount solar projects.

2. General Verification Checklist

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Availability of Approved BoM | Ensure the latest approved BoM is available for verification |  |
| Supplier Invoices & Delivery Notes | Cross-check supplier invoices with the received shipment |  |
| Packing List & Material Labels | Verify packaging against the BoM for correct quantities |  |
| Damage & Defect Inspection | Inspect materials for any visible damage or manufacturing defects |  |
| Storage & Handling Compliance | Ensure proper storage conditions as per manufacturer guidelines |  |

3. Solar Panel Verification

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Module Make & Model | Verify the brand and model as per BoM |  |
| Power Rating (Wattage) | Ensure the delivered modules match the specified wattage |  |
| Quantity Delivered vs. Ordered | Confirm that the correct number of panels has been received |  |
| Serial Number Documentation | Record serial numbers for warranty and quality assurance |  |
| Physical Damage Check | Inspect for cracks, scratches, or broken glass |  |
| IEC/UL Certification Labels | Ensure compliance with international standards |  |

4. Inverter Verification

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Inverter Make & Model | Verify make and model match the BoM |  |
| Capacity (kW) | Ensure correct inverter capacity as per design |  |
| Quantity Check | Confirm the number of inverters delivered |  |
| Compliance Certifications | Check for IEC, UL, MNRE, or other relevant certifications |  |
| Warranty & Serial Number Documentation | Record serial numbers and validate warranty details |  |
| Accessories & Communication Devices | Ensure all required accessories (WiFi dongles, connectors) are included |  |

5. Mounting Structure & Accessories Verification

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Mounting Structure Type | Verify type (fixed tilt, tracker, etc.) as per BoM |  |
| Material Specification | Ensure correct material (aluminum, galvanized steel, etc.) |  |
| Fasteners, Nuts & Bolts | Verify count and quality of bolts, washers, and clamps |  |
| Corrosion Protection Coating | Ensure materials have required anti-corrosion treatment |  |
| Structural Load Compliance | Validate against design wind and snow load requirements |  |

6. Electrical Components Verification

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| DC Cables | Verify type, cross-section (mm²), and insulation |  |
| AC Cables | Ensure correct voltage and current rating |  |
| Cable Trays & Conduits | Verify quantity and specifications |  |
| Junction Boxes & Combiner Boxes | Ensure proper IP rating and enclosure type |  |
| Circuit Breakers & Surge Protection Devices | Confirm ratings and compliance |  |
| Earthing Materials | Check grounding rods, wires, and connectors |  |
| Battery Storage (if applicable) | Verify type, capacity, and manufacturer specifications |  |

7. Safety & Ancillary Equipment Verification

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Personal Protective Equipment (PPE) | Verify availability of helmets, gloves, safety shoes, etc. |  |
| Fire Extinguishers | Ensure presence of ABC-type extinguishers at site |  |
| First Aid Kits | Verify stocked first aid boxes for emergencies |  |
| Safety Signage & Barricades | Ensure warning signs and restricted area indicators |  |
| Lightning Protection System | Confirm components for lightning safety compliance |  |

8. Documentation & Handover

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Material Inspection Report | Document findings and discrepancies |  |
| Non-Conformance Report (NCR) | Report any deviations or missing items |  |
| Supplier Acknowledgment | Notify supplier of discrepancies and initiate replacement |  |
| Acceptance & Handover Report | Final approval of materials received |  |

9. Conclusion

This checklist ensures thorough verification of all materials before installation begins. Following this structured approach helps mitigate project delays, cost overruns, and quality issues.