Mounting Structure & Panel Installation Checklist: Proper Fastening of Mounting Structures (Torque Check)

1. Introduction

Proper fastening and torque application of mounting structures are essential for the stability and longevity of solar power plants. This checklist ensures that all structural components are securely fastened as per industry standards, preventing potential failures and safety hazards.

2. Fastening & Torque Check Verification Checklist

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Approved Fastening Plan Review | Ensure all fastening methods comply with approved design and manufacturer guidelines |  |
| Use of Proper Fasteners | Verify correct bolts, nuts, and washers as per specifications |  |
| Torque Wrench Calibration | Ensure torque wrench is calibrated before use |  |
| Torque Specification Compliance | Check that torque values meet manufacturer and industry requirements |  |
| Sequential Fastening Process | Apply torque in the recommended sequence to prevent stress on structures |  |
| Tightness & Secure Locking | Ensure fasteners are tightened to prevent loosening due to vibration or thermal expansion |  |
| Cross-Check of Critical Connections | Verify all load-bearing and high-stress points are adequately fastened |  |
| Re-Torqueing of Bolts (if required) | Perform re-torqueing after a certain period to ensure stability |  |
| Anti-Corrosion Treatment | Ensure fasteners are coated or treated for corrosion protection |  |
| Verification of Anchor Bolts (Ground Mount) | Ensure proper depth, anchoring, and fastening of ground mount bolts |  |
| Roof Attachment Security (Rooftop) | Check penetration and non-penetration fastening integrity |  |

3. Site-Specific Fastening Considerations

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Wind Load & Seismic Considerations | Ensure fastening strength meets environmental requirements |  |
| Expansion & Contraction Allowance | Allow for material expansion due to temperature variations |  |
| Structural Load Distribution | Verify even distribution of fastener loads |  |
| UV & Weather Resistance | Ensure fasteners are resistant to environmental factors |  |
| Documentation of Fastening Data | Record torque values for future reference |  |

4. Compliance & Documentation

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Fastening Inspection Log | Document torque values and fastening verification results |  |
| Engineering Approval | Obtain sign-off from structural engineers |  |
| Compliance with IS/IEC/NEC Standards | Ensure adherence to international and national codes |  |

5. Conclusion

This checklist ensures that all mounting structures are properly fastened, reducing risks related to structural failure. Regular inspections and documentation should be maintained for long-term system stability and safety.