Mounting Structure & Panel Installation Checklist: Panel Orientation & Tilt Angle Verification

1. Introduction

Proper panel orientation and tilt angle are crucial for maximizing energy generation efficiency. This checklist ensures that solar panels are correctly aligned and angled for optimal performance, considering site-specific conditions and industry standards.

2. Orientation & Tilt Angle Verification Checklist

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Approved Design Review | Verify panel orientation and tilt angle match approved design specifications |  |
| True South/North Alignment Check | Confirm panels are aligned to the correct azimuth angle for maximum solar exposure |  |
| Tilt Angle Measurement | Use inclinometer or digital level to check panel tilt angle |  |
| Site Latitude Consideration | Ensure tilt angle is optimized for the site’s latitude and seasonal variations |  |
| Shadow Analysis | Confirm no shading issues from nearby structures or obstacles at peak sun hours |  |
| Row-to-Row Spacing Check | Ensure correct inter-row spacing to minimize shading and optimize performance |  |
| Wind Load Impact Assessment | Verify tilt angle stability against wind load requirements |  |
| Mechanical Adjustments | Ensure mounting structure allows necessary tilt adjustments if required |  |
| Uniformity of Panel Angles | Verify all panels are installed at a consistent tilt angle |  |
| Orientation Compliance with Simulation Software | Cross-check with PVsyst, Helioscope, or Aurora simulations for validation |  |
| Structural Stability at Tilt Angle | Ensure frame stability and integrity at the set tilt angle |  |
| Verification of Seasonal Adjustability (if applicable) | Check if tilt angle adjustments are needed for different seasons |  |

3. Site-Specific Considerations

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Rooftop Space Constraints | Verify optimal tilt within available space |  |
| Ground Mount Soil Stability | Ensure structural anchoring supports the tilt angle |  |
| Orientation & Tilt Angle Impact on Energy Yield | Assess expected energy output based on tilt angle adjustments |  |
| PV Module Mounting System Compatibility | Ensure mounting system supports the required tilt angle |  |
| Angle Adjustments for Tracking Systems (if applicable) | Verify proper tracking mechanism operation for sun movement |  |

4. Compliance & Documentation

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Inspection Report | Document verification results for orientation and tilt angles |  |
| As-Built Drawings Update | Update drawings based on actual installation |  |
| Engineering Approval | Obtain approval from technical/engineering teams |  |
| Compliance with IS/IEC/NEC Standards | Ensure adherence to national and international standards |  |

5. Conclusion

This checklist ensures that solar panels are optimally oriented and tilted to achieve maximum efficiency. Regular verification and documentation should be conducted to maintain system performance.