Mounting Structure & Panel Installation Checklist: Proper Module Clamping as per Manufacturer Guidelines

1. Introduction

Proper module clamping is critical to ensure the stability, durability, and safety of solar panels. This checklist ensures that all modules are securely clamped as per manufacturer specifications, preventing damage and ensuring long-term performance.

2. Module Clamping Verification Checklist

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Manufacturer’s Clamping Guidelines Review | Verify compliance with module manufacturer’s installation guidelines |  |
| Correct Clamping Zone | Ensure clamps are positioned within the module’s designated clamping areas |  |
| Appropriate Clamp Type | Use clamps specified by the manufacturer for the panel type and structure |  |
| Proper Torque Application | Verify torque settings as per manufacturer’s recommendations |  |
| Secure & Even Tightening | Ensure all clamps are evenly tightened to avoid stress on the module frame |  |
| Anti-Slip & Vibration Check | Verify clamps prevent module movement due to wind, vibration, or thermal expansion |  |
| No Over-Tightening or Under-Tightening | Ensure fasteners are not excessively tightened or left loose |  |
| Corrosion Resistance | Use corrosion-resistant clamps to ensure long-term durability |  |
| Edge Distance Compliance | Maintain correct distance from module edges to prevent damage |  |
| Thermal Expansion Allowance | Ensure clamping method accounts for module expansion due to temperature changes |  |
| Mid & End Clamps Securely Installed | Confirm mid-clamps and end-clamps are correctly placed and tightened |  |
| Structural Compatibility | Ensure mounting structure supports the required clamping method |  |

3. Site-Specific Considerations

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Rooftop Panel Wind Load Resistance | Ensure clamping method accounts for wind loads on rooftop installations |  |
| Ground Mount Structural Integrity | Verify clamp installation on ground-mounted frames for stability |  |
| Snow Load Considerations | Ensure clamps can withstand additional weight in snowfall-prone regions |  |
| Panel Orientation Impact | Verify clamping remains stable under all tilt angles and orientations |  |
| Compliance with Warranty Terms | Ensure installation practices align with manufacturer warranty requirements |  |

4. Compliance & Documentation

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Installation Inspection Report | Document all clamping verification results |  |
| As-Built Drawings Update | Update drawings to reflect actual installation |  |
| Engineering Approval | Obtain approval from the structural/engineering team |  |
| Compliance with IS/IEC/NEC Standards | Ensure adherence to relevant international and national standards |  |

5. Conclusion

This checklist ensures that solar modules are properly clamped, reducing risks associated with loose or incorrectly installed modules. Regular inspections and proper documentation should be maintained for long-term system reliability and safety.