DC System & Electrical Installation Checklist: String Layout as per Approved Design

1. Introduction

Ensuring proper string layout in solar power plants is crucial for optimizing performance, minimizing losses, and ensuring safety compliance. This checklist provides a structured approach to verify that the string layout follows the approved design.

2. String Layout Verification Checklist

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Compliance with Approved Design | Verify that strings are arranged exactly as per the approved layout |  |
| Correct Number of Modules per String | Ensure that the number of modules per string matches the approved design |  |
| Proper Series & Parallel Configuration | Confirm the correct arrangement of modules in series and parallel |  |
| Voltage & Current Matching | Verify that string voltage and current values align with inverter specifications |  |
| String Length Optimization | Ensure cable routing minimizes voltage drop and transmission losses |  |
| Equal String Distribution | Verify that strings are evenly distributed across multiple MPPTs |  |
| String Labeling & Identification | Ensure proper labeling of each string according to the single-line diagram (SLD) |  |
| Cable Management & Routing | Verify that cables are routed safely through conduits, cable trays, or trenches |  |
| MC4 Connector Compatibility & Crimping | Ensure that MC4 connectors are properly matched and securely crimped |  |
| Shading Avoidance | Confirm no unexpected shading due to nearby obstacles or panel misalignment |  |
| Installation of String Protection Devices | Verify the presence of string fuses, surge protection, and other safety devices |  |
| Compliance with Local Electrical Codes | Ensure adherence to IS, IEC, and NEC electrical safety standards |  |

3. Site-Specific Considerations

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Ground Mount String Layout | Verify correct spacing and positioning of ground-mounted strings |  |
| Rooftop System Layout Compliance | Ensure alignment with available rooftop space and existing structures |  |
| Climate & Environmental Factors | Check for impacts of temperature variations on voltage and performance |  |
| Wind Load & Structural Safety | Verify cable routing minimizes exposure to wind and mechanical stress |  |

4. Compliance & Documentation

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| As-Built String Layout Report | Document actual string layout and note any deviations from the design |  |
| Electrical Testing & Verification Report | Record string voltage, current, insulation resistance, and continuity tests |  |
| Engineering Approval | Obtain approval from the design and quality assurance teams |  |
| Compliance with Electrical Standards | Ensure adherence to IS/IEC/NEC standards for system safety and performance |  |

5. Conclusion

This checklist ensures that the string layout is installed and verified according to the approved design for safe and efficient solar plant operation. Proper documentation and inspections should be completed before commissioning.