Pre-Commissioning Documents & Checklists for Solar Power Plant Installation & Commissioning

1. Introduction

Pre-commissioning is a crucial step in ensuring the solar power plant is installed correctly and operates efficiently. This checklist ensures that all mechanical, electrical, and functional aspects are verified before commissioning.

2. Pre-Commissioning Checklist

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| Completion of Mechanical & Electrical Installation | Verify that all components are installed as per the approved design |  |
| No Loose Connections | Ensure all electrical connections are securely fastened |  |
| Wiring Secured & Labeled | Verify that all cables are properly routed, secured, and labeled |  |
| System Insulation Resistance Tested | Conduct insulation resistance testing for safety and performance verification |  |
| Weather Monitoring Station Installed | Ensure the weather station is installed and operational for performance tracking |  |
| Functional Testing & Performance Checklist | Perform functional tests to confirm system readiness |  |
| Open Circuit Voltage (Voc) & Short Circuit Current (Isc) Testing | Verify module and string Voc & Isc values against design specifications |  |
| String Voltage & Current Matching with Design Values | Check that measured string voltage and current align with design values |  |
| Inverter Startup, Configuration, and Error-Free Operation | Ensure proper commissioning of inverters and verify operational status |  |
| Performance Ratio (PR) Calculation & Validation | Calculate PR to assess the efficiency of the installed system |  |
| Data Monitoring System Setup & SCADA Integration | Confirm proper installation and operation of the remote monitoring system |  |

3. Compliance & Documentation

| Checklist Item | Description | Status (✔/✘) |
| --- | --- | --- |
| As-Built System Layout Report | Document actual system layout and note any deviations from the design |  |
| Electrical Testing & Verification Report | Record insulation resistance, continuity tests, and voltage measurements |  |
| Engineering Approval | Obtain approval from design and quality assurance teams |  |
| Compliance with Electrical Standards | Ensure adherence to IS/IEC/NEC standards for system safety and performance |  |

4. Conclusion

This checklist ensures all critical aspects of the solar power plant are verified before commissioning. Proper documentation and thorough testing should be completed before final approval.