## Data
| First Enter Your Details in "Other Details Sheet" | [8 empty] | https://www.flasysdesign.com/
Email: contact@flasysdesign.com
BUS BAR VOLTAGE DROP CALCULATION
BUS BAR NO |  | ABC
Sr.No | Location | Sub Panel No | Line Length (mt) | Power | Line current (Amp) | Bus Bar | Resistance | Reactance | Voltage Drop (Vd) | Voltage Drop %E
|  |  | 3.5 | 70 | 86.5639 | 5300 (Cu) | 0.0065 | 0.0113 | 0.005679 | 0.0013684
|  |  | 1000 | 100 | 123.6627 | 5300 (Cu) | 0.0065 | 0.0113 | 2.318 | 0.55855
|  |  | 666 | 788 | 974.4621 | 5300 (Cu) | 0.0065 | 0.0113 | 12.1649 | 2.9313
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
[5 empty] | 0 | 5300 (Cu) | 0.0065 | 0.0113 | 0 | 0
| TOTAL |  | 1669.5 | 958 |  |  |  |  | 14.4885 | 3.4912
| Result: | Selected BusBar is Correct | [7 empty] | 1
| Voltage Drop | 3.49 (Within Limit)

## Other Details
| Constant | [6 empty] | https://www.flasysdesign.com/
| Cos Ø: | 0.9 |  |  | Max. Voltage drop | 4 | % | Email: contact@flasysdesign.com
| Sin Ø: | 0.44
| Diversity | 0.8
2 | Voltage | 415
BUSBAR Details
1480.8609 | No | BUSBAR Code | Max Current Capacity (Amp) |  | RESISTANCE | REACTANCE
| 1 | 6300 (Cu) | 6300 | 6300 (Cu) | 0.0053 | 0.0106
| 2 | 5300 (Cu) | 5300 | 5300 (Cu) | 0.0065 | 0.0113
| 3 | 4400 (Cu) | 4400 | 4400 (Cu) | 0.0085 | 0.013
| 4 | 3600 (Cu) | 3600 | 3600 (Cu) | 0.0098 | 0.0148
| 5 | 3000 (Cu) | 3000 | 3000 (Cu) | 0.0128 | 0.0184
| 6 | 2500 (Cu) | 2500 | 2500 (Cu) | 0.017 | 0.0232
| 7 | 2000 (Cu) | 2000 | 2000 (Cu) | 0.0196 | 0.0261
| 8 | 1600 (Cu) | 1600 | 1600 (Cu) | 0.0255 | 0.0336
| 9 | 1250 (Cu) | 1250 | Increase (A) rating | 0.034 | 0.0438
| 10 | 1000 (Cu) | 1000 | Increase (A) rating | 0.0397 | 0.0432
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50