## Sheet1
https://www.flasysdesign.com/
| Earthing Calculation |  |  | Email: contact@flasysdesign.com
Purpose:- The functions of grounding systems or earth mat in
include: To ensure safety to personnel & Equipment in
substations against electrical shocks.
Determine the minimum size of the earthing conductors required
for the main earth grid Ensure that the earthing design is
appropriate to prevent dangerous step and touch potentials.
Methodology :- This calculation is based on IEEE Std 80
(2000), "Guide for safety in AC substation grounding". There are
four main parts to this calculation:
1. Earthing grid conductor sizing
2. Grid resistance Calculation
3. Touch potential calculations
4. Step potential calculations
Table
1 | MS ROD -- | MAIN MAT + AREA EARTHING + HEAVY EQUIPMENT
2 | GI/GS FLATE -- | MAIN MAT + AREA EARTHING + HEAVY AND MEDIUM EQUIPMENT
3 | COPPER FLATE-- | MAIN MAT + AREA EARTHING + HEAVY AND MEDIUM EQUIPMENT + ELECTRONICS EQUIPMENT
4 | COPPER ROD -- | MAIN MAT + AREA EARTHING
5 | AL WIRE -- | MEDIUM EQUIPMENT + ELECTRONICS EQUIPMENT
6 | GI WIRE -- | HEAVY AND MEDIUM EQUIPMENT
7 | COPPER WIRE -- | MEDIUM EQUIPMENT + ELECTRONICS EQUIPMENT
material use for earthing
1 | MS ROD -- | 28mm, 32mm, 40mm, dia
2 | GI/GS FLATE -- | 25x3mm, 50x3mm, 50x5mm, 65x3mm, 65x5mm, 65x10mm, 65x12mm, 75x10mm, 75x12mm,
3 | COPPER FLATE-- | 12.5x3m, 25x3mm, 50x3mm, 50x5mm, 65x3mm, 65x5mm, 65x10mm, 65x12mm, 75x10mm, 75x12mm,
4 | COPPER ROD -- | 12.5mm, 17.2mm, 19mm, 28mm, 32mm, 40mm,
5 | AL WIRE -- | 400sqmm, 300sqmm, 270sqmm, 180sqmm, 95sqmm, 70sqmm, 50sqmm
6 | GI WIRE -- | 14mm, 17mm, 19mm
7 | COPPER WIRE -- | 400sqmm, 300sqmm, 270sqmm, 180sqmm, 95sqmm, 70sqmm, 50sqmm
EARTHING -- for equipment and human safety
Grounding -- equipment safety, grounding working as neutral but neutral is not working as grounding
Neutral -- is used to balanced the system, neutral is used to make 3 phase to single phase
SIZE DEPENDS UPON S.C/FAULT CURRENT
1 | EARTH ELECTROD AND CHEMICAL EARTH ELECTROD
|  |  |  | TYPE A | TYPE B | TYPE C | TYPE D | TYPE E
|  |  |  | CT | LA | TF | LT PANEL | ELEDTRONICS DEVICE
|  |  |  | PT | ISO | GEN | CABLE TRAY | BUILDING
|  |  |  | CB |  | MOT
| TRANFORMER EARTHING FOR SUBSTATION |  |  | MOTOR WITH PIPE ELECTROD
| LIGHTINING ARRESTER |  |  |  | ISO LATOR
CABLE TRAY

## Sheet2
https://www.flasysdesign.com/
Experience of Step & touch Potential :- | Email: contact@flasysdesign.com

## Sheet3
https://www.flasysdesign.com/
Email: contact@flasysdesign.com

## Sheet5
https://www.flasysdesign.com/
Email: contact@flasysdesign.com

## Sheet6
https://www.flasysdesign.com/
Email: contact@flasysdesign.com

## Contents
https://www.flasysdesign.com/
Email: contact@flasysdesign.com
Table of Contents
| CLAUSE NO. | DESCRIPTION
| 1 | #REF!
| 2 | #REF!
| 3 | #ERROR!
| 4 | #REF!
| 5 | #REF!
| 6 | #REF!
| 7 | #REF!
| 8 | #REF!
| 9 | #REF!

## Purpose & Codes
https://www.flasysdesign.com/
1 | Purpose |  | Email: contact@flasysdesign.com
The purpose of this calculation is
| a) | To establish ground grid configuration
| b) | To calculate subsoil ground grid resistance
| c) | To check step and touch voltages
2 | Codes & Standards
| a) | IEEE Std 80 - 2000 - IEEE Guide for safety in AC Substation Grounding
| b) | IS - 3043 Code of practice for earthing
| c) | Test Report of Measurement of Soil Resistivity for Switchyard of PV Power Plant
ANNEXURE-A : SOIL RESISTIVITY MEASUREMENT REPORT

## Nomenclature
https://www.flasysdesign.com/
3 | Nomenclature |  |  | Email: contact@flasysdesign.com
1 | Soil resistivity | ρ | Ω −m
2 | Surface Gravel layer (crushed rock resistivity) | ρs | Ω −m
3 | Symmetrical fault current in substation | If | A
4 | Total area enclosed by ground grid | A | m2
5 | Surface layer de-rating factor | Cs
6 | Diameter of grid conductor | d | m
7 | Spacing between parallel conductors | D | m
8 | Attainable Touch Voltage | Em | V
9 | Attainable Step Voltage | Es | V
10 | Tolerable step voltage for human with 50 kg body weight | Estep50 | V
11 | Tolerable touch voltage for human with 50 kg body weight | Etouch50 | V
12 | Tolerable step voltage for human with 70 kg body weight | Estep70 | V
13 | Tolerable touch voltage for human with 70 kg body weight | Etouch70 | V
14 | Depth of Burial of earth material | h | m
15 | Surface Gravel layer thickness | hs | m
16 | Maximum grid current that flows between ground grid and surrounding | IG | A
17 | Symmetrical grid current | Ig | A
18 | Reflection factor between different resistivities | K
19 | Corrective weighting factor that emphasizes the effects of grid depth | Kh
20 | Correction factor for grid geometry | Ki
21 | Corrective weighting factor that adjusts for the effects of inner conductors | Kii
22 | Spacing factor for mesh voltage | Km
23 | Spacing factor for step voltage | Ks
24 | Total length of grid conductor | Lc | m
25 | Effective length of Lc + LR for mesh voltage | LM | m
26 | Periphery Length of the earthing equivalent area | LP | m
27 | Total length of ground rods | LR | m
28 | Length of ground rod at each location | Lr | m
29 | Effective length of Lc + LR for step voltage | LS | m
30 | Total effective length of grounding system conductor, including grid | LT | m
31 | Maximum length of grid conductor in x direction | L = Lx | m
32 | Maximum length of grid conductors in y direction | W = Ly | m
33 | Geometric factor composed of factors na , nb , nc , and nd | n
34 | Number of rod in switchyard | Nr
35 | Resistance of grounding system | Rg | Ω
36 | Duration of shock for determining allowable body current | ts | s

## Input Parameters
https://www.flasysdesign.com/
4 | Input Parameters |  |  |  |  | Email: contact@flasysdesign.com
1 | Symmetrical fault current in substation for conductor sizing | If | = | 25 | kA
2 | Fault current division factor | Sf | = | 0.6
3 | Duration of shock for determining allowable body current | ts | = | 0.5 | s
4 | Surface Gravel layer resistivity | ρs | = | 6000 | Ω − m
5 | Surface Gravel layer thickness | hs | = | 0.15 | m
6 | Soil resistivity | ρ | = | 160 | Ω − m
7 | Depth of Burial of earth material | h | = | 0.6 | m
8 | Number of Rods | Nr | = | 24
9 | Length of ground rod at each location | Lr | = | 2 | m
10 | Arrangement of ground rod in grid | Rod at the grid corners
11 | Maximum length in X- Direction | L | = | 25 | m
12 | Maximum length in Y- Direction | W | = | 25 | m
13 | Number of Long conductor | NL | = | 6
14 | Number of Short conductor | NW | = | 6
15 | Diameter of conductor / Equivalent diameter in case of FLAT Conductor | d | = | 19.5441 | m
16 | Spacing between parallel conductor | D | = | 5 | m

## Cond Size
https://www.flasysdesign.com/
5 | Conductor Sizing Calculation | [5 empty] | Email: contact@flasysdesign.com
Input Data : Properties of MS is as per item 10 of table 1 of IEEE Std 80-2000
(i) | Type of Conductor Material | = | MS
GI
(ii) | System Voltage | = | 33 | kV
(iii) | Fault Current, If, for sizing of conductor | = | 25 | kA
(iv) | Fault Duration, tc | = | 1 | Sec
(v) | Maximum Allowable Tempeature, Tm | = | 620 | 0C
(vi) | AmbientTempeature, Ta | = | 40 | 0C
(vii) | Thermal Co-eff. of Resistivity at ref. tremp, αr | = | 0.0016
(viii) | Resistivity of ground conductor at ref. tremp, ρr | = | 15.9 | µΩ−cm
(ix) | Thermal Capacity Factor, TCAP | = | 3.28 | J/(cm3.0C)
(x) | Ko (= 1/αo) | = | 605
Conductor Size:
As per equation 37 of IEEE Std 80-2000, conductor size is given as
25
254.4
3.28
0.012893
1.8992
| Substituting the input data, we get |  |  |  | 0.64145
| Conductor size, A | = | 274.9044 | sqmm | 0.0082702
0.090941
| Soil resistivity | = | 160 | Ω − m
| Considering Corrosion factor | = | 274.9044 | sqmm | 274.9044
| Conductor size (as per calculation) | = | 274.9044 | sqmm
| Conductor size (selected) | = | 300 | sqmm MS Flat
|  | = | 19.5441 | m MS Flat (50 x 6 mm) |  | Soil Resistivity & Corrossion allowances
[6 empty] | Range of Soil Resistivity (ohm - m) | Class of Soil | Corrossion allowances
[6 empty] | Less than 25 | Severely corrosive | 30%
[6 empty] | 25 - 50 | Moderately corrosive | 15%
[6 empty] | 50 - 100 | Mildly corrosive | 15%
[6 empty] | Above 100 | Very Mildly corrosive | No allowance

## Gnd Res
https://www.flasysdesign.com/
6 | Ground Resistance Calculation |  |  |  |  | Email: contact@flasysdesign.com
(i) | For ground mat depths less then 0.25 Maters
| Rg | = | Station ground resistance in ohm
| ρ | = | Average earth resistivity in ohm-m
| A | = | Area under earthing mat in square meter (m2)
| L | = | Total length of buried conductors in meter (m)
(ii) | For ground depths between 0.25 and 2.5 meters |  |  |  | 2.8352
3.3685
| Average earth resistivity in ρ | = | 160 | ohm-m
| Total length of buried conductors in meter (m), L | = | 300 | m
| Area under earthing mat in square meter | = | 625 | m2
| h is Depth of ground grid conductors | = | 0.6 | m
| Ground Resistance thus calculated is (<0.25 m depth) | = | 3.3685 | ohm
| Ground Resistance thus calculated is (bet 0.25 m & 2.5 m depth) | = | 3.2568 | ohm

## Tolerable Voltages
https://www.flasysdesign.com/
7 | Tolerable Touch & Step Voltage Calculation | [5 empty] | Email: contact@flasysdesign.com
|  | E touch (Tolerable) | =
|  | E step (Tolerable) | =
| Where | E touch (Tolerable) | = | Touch Voltage in Volts
|  | E step (Tolerable0 | = | Step Voltage in Volts
|  | Cs | = | Surface layer derating factor
=
|  | Cs | = | 1 | (when no surface material is used)
|  | ρs | = | Resistivity of the surface material in ohm-m
|  | ts | = | Duration of shock current in sec
|  | Cs | = | 0.77538
|  | E touch (Tolerable) | = | 1308.8568 | V
|  | E step (Tolerable0 | = | 4743.281 | V
`

## Attainable Voltages
https://www.flasysdesign.com/
8 | Attainable Touch & Step Voltage Calculation |  |  |  |  | Email: contact@flasysdesign.com
| ρ | = | 160 | ohm-m
| Lc | = | 300 | m
| Lp | = | 100 | m
| Lr | = | 48 | m
| A | = | 625 | sqm
| h | = | 0.6 | m
| d | = | 19.5441 | m
| D | = | 5 | m
(i) | Emesh | Emesh is calculated by the following expression.
| Emesh (calculated) | =
| Ki | = | is the correction factor to account for increase in current density in the grid extremities and is given by the expression
|  | = | 0.644 + 0.148 * n
|  | = | 1.532
| n | = | na * nb * nc * nd
|  | = | 6
| na | = | 2 * Lc / LP | as Lc is total length of conductor
|  | = | 6
| nb | = | √ (Lp / (4 * √ (A))) | as Lp is perimeter and A is area of the Grid.,
|  | = | 1
| nc & nd | = | 1 | for rectangular or square grid.
| Km | = | is a factor based on the geometry of ground grid for n parallel conductors and is given by the expression
| Km | =
|  | = | 0.12178
| Kh | = | is corrective weighting factor that emphasizes the effect of grid depth and as given by expression
| Kh | = |  | h = | is depth of burial of the conductor
|  |  |  | ho = | is 1m (reference depth of grid)
|  | = | 1.2649
| Kii | = | is corrective weighting factor that adjusts the effect of inner conductors on corner mesh and is given below
| Kii | = | 1 | (Assuming that the earthing mat will be provided with ground rods along the perimeter)
| d | = | Equivalent Diameters of earthing mat conductor in meters
|  | = | d = W/2 | For earthing mat conductor consisting of rectangular flat
| W | = | width of flat
| D | = | Spacing between parallel conductor in m
| IG | = | Maximum Grid Current
|  | = | Df x Sf x If
|  | = | 15000 | A
| Df | = | Decrement factor for the entire duration of fault tc
|  |  | Fault Duration (sec) | Decrement Factor (Df)
|  |  | 0.008 | 1.65
|  |  | 0.1 | 1.25
|  |  | 0.25 | 1.1
|  |  | 0.5 or more | 1
| Sf | = | Fault currnet division factor
|  | = | 0.6
(In the absence of full details regarding exact system configuration of which the substation form a part, at the design stage it will be fairly accurate to adopt a value of 0.6 for Sf to determine the fault current that flows through the grid to remote earth)
| If | = | rms value of symmetrical ground fault current in Amperes
|  | = | 25000 | A
| Lc | = | length of grounding system conductor
| Lr | = | total length of rods
| Emesh (calculated) | = | 1260.6358 | V
(ii) | Estep |  | Estep is calculated by the following expression
| Estep(calculated) | =
| Ki | = | 0.644 + 0.148 * n
| Ks | = | Ks is spacing factor for step voltage and is given by the expression
| Ks | =
|  | = | 0.38198
| h | = | is Depth of ground grid conductors in m
| D | = | is spacing between parallel conductors in m
| Estep(calculated) | = | 3953.9682 | V

## Safety Check
https://www.flasysdesign.com/
9 | Safety Check |  |  | Email: contact@flasysdesign.com
For the safe earthing system design, Attainable Step & Touch Voltages should be less than the Tolerable Step & Touch values respectively.
|  | Attainable | Tolerable
| Touch Voltage (V) | 1260.6358 | 1308.8568
| Step Voltage (V) | 3953.9682 | 4743.281
The maximum attainable touch voltage as well as step voltage is less than the Tolerable limit. Hence the grid design is correct & safe.

## Material Constants-1
https://www.flasysdesign.com/
| Table 1 - Material Constants | [7 empty] | Email: contact@flasysdesign.com
IEEE Std 80 - 2000
S.No. | Description | Material conductivity (%) | αr factor at 20 °C (1/°C) | Ko at 0 °C (0 °C) | Fusing temperature Tm (°C) | ρr 20 °C (μΩ·cm) | TCAP thermal capacity [J/(cm3·°C)]
1 | Copper, annealed soft-drawn | 100 | 0.00393 | 234 | 1083 | 1.72 | 3.42 | 100.0 0.003 93 234 1083 1.72 3.42
2 | Copper, commercial hard-drawn | 97 | 0.00381 | 242 | 1084 | 1.78 | 3.42 | 97.0 0.003 81 242 1084 1.78 3.42
3 | Copper-clad steel wire | 40 | 0.00378 | 245 | 1084 | 4.4 | 3.85 | 40.0 0.003 78 245 1084 4.40 3.85
4 | Copper-clad steel wire | 30 | 0.00378 | 245 | 1084 | 5.86 | 3.85 | 30.0 0.003 78 245 1084 5.86 3.85
5 | Copper-clad steel rod | 20 | 0.00378 | 245 | 1084 | 8.62 | 3.85 | 20.0 0.003 78 245 1084 8.62 3.85
6 | Aluminum, EC grade | 61 | 0.00403 | 228 | 657 | 2.86 | 2.56 | 61.0 0.004 03 228 657 2.86 2.56
7 | Aluminum, 5005 alloy | 53.5 | 0.00353 | 263 | 652 | 3.22 | 2.6 | 53.5 0.003 53 263 652 3.22 2.60
8 | Aluminum, 6201 alloy | 52.5 | 0.00347 | 268 | 654 | 3.28 | 2.6 | 52.5 0.003 47 268 654 3.28 2.60
9 | Aluminum-clad steel wire | 20.3 | 0.0036 | 258 | 657 | 8.48 | 3.58 | 20.3 0.003 60 258 657 8.48 3.58
10 | Steel, 1020 | 10.8 | 0.0016 | 605 | 1510 | 15.9 | 3.28 | 10.8 0.001 60 605 1510 15.90 3.28
11 | Stainless-clad steel rod | 9.8 | 0.0016 | 605 | 1400 | 17.5 | 4.44 | 9.8 0.001 60 605 1400 17.50 4.44
12 | Zinc-coated steel rod | 8.6 | 0.0032 | 293 | 419 | 20.1 | 3.93 | 8.6 0.003 20 293 419 20.10 3.93
13 | Stainless steel, 304 | 2.4 | 0.0013 | 749 | 1400 | 72 | 4.03 | 2.4 0.001 30 749 1400 72.00 4.03

## Material Constants-2
https://www.flasysdesign.com/
| Table 2 - Material Constants |  |  |  |  | Email: contact@flasysdesign.com
IEEE Std 80 - 2000
S. No. | Material | Conductivity (%) | Tm (0C) | Kf
1 | Copper, annealed soft-drawn | 100 | 1083 | 7 | 100.0 1083 7.00
2 | Copper, commercial hard-drawn | 97 | 1084 | 7.06 | 97.0 1084 7.06
3 | Copper, commercial hard-drawn | 97 | 250 | 11.78 | 97.0 250 11.78
4 | Copper-clad steel wire | 40 | 1084 | 10.45 | 40.0 1084 10.45
5 | Copper-clad steel wire | 30 | 1084 | 12.06 | 30.0 1084 12.06
6 | Copper-clad steel rod | 20 | 1084 | 14.64 | 20.0 1084 14.64
7 | Aluminum EC Grade | 61 | 657 | 12.12 | 61.0 657 12.12
8 | Aluminum 5005 Alloy | 53.5 | 652 | 12.41 | 53.5 652 12.41
9 | Aluminum 6201 Alloy | 52.5 | 654 | 12.47 | 52.5 654 12.47
10 | Aluminum-clad steel wire | 20.3 | 657 | 17.2 | 20.3 657 17.20
11 | Steel 1020 | 10.8 | 1510 | 15.95 | 10.8 1510 15.95
12 | Stainless clad steel rod | 9.8 | 1400 | 14.72 | 9.8 1400 14.72
13 | Zinc-coated steel rod | 8.6 | 419 | 28.96 | 8.6 419 28.96
14 | Stainless steel 304 | 2.4 | 1400 | 30.05 | 2.4 1400 30.05