## Main Sheet
DESIGN OF SOLAR PANEL / BATTERY BANK / INVERTOR | [11 empty] | https://www.flasysdesign.com/
First Enter Your Electrical Load Detail in Electrical Load Sheet | [11 empty] | Email: contact@flasysdesign.com
Solar Panel Detail | [5 empty] | Battery Bank Details
Solar System Voltage | 240 | Volts DC |  |  |  |  | Battery Bank's Voltage | 240 | Volts DC
Losses in Wire,Connection,Battery | 25 | % |  |  |  |  | Reaserve Day: (How many days of capacity you want your batteries to Give you Current) | 2.5 | Days
Daily Sunshine Hours
In Winter | 5.5 | Hrs. | (For India 4 To 6 Hrs) |  |  |  | Loose Connection/Wire Loss Factor: | 20 | % | 0.2
In Summer | 5.5 | Hrs. |  |  |  |  | Battery Efficiency | 100 | % | 1
In Monsoon | 5.5 | Hrs. |  |  |  |  | Battery Aging: | 20 | % | 0.2
Average Daily Sunshine Hours | 5.5 | Hrs. |  |  |  |  | Depth of Discharge:(DOD) | 50 | % | 0.5
Total Solar Power need | 10.5 | Watt.Hr/Day |  |  |  |  | Battery Operating Temp: | 80
Total Solar Power after Correction Factor | 13.125 | Watt.Hr/Day |  |  |  |  | The Battery Bank Required: | 0.315 | Amp.Hr
Solar Array Size after Calculating Sun Hour | 2.3864 | Watt |  |  |  |  | Enter Each Battery Rating | 10 | Amp.Hr @ | 12 | volts |  | 20 | 0
Select Size of Solar Panel | 100 | watt | 12 | Volts | 0 |  | Batteries connection for Battery Bank
Solar Panel Connetion
:Solar Panel : | [6 empty] | :Battery Bank :
[7 empty] | Type of Connection For Batteries | Series Connection
Type of Connection For Solar Panel | Series Connection | [5 empty] | Selection of Batteries Connection: | O.K
Selection of Solar Panel Connection: | O.K | [5 empty] | Selection of Each Battery Voltage | O.K
Selection of Each Solar Panel Voltage | O.K | [5 empty] | Number of String for Battries | 1 | Nos
Number of String for Solar Panel | 1 | Nos |  |  |  |  | Total Amp.Hr of Each String | 10 | Amp.Hr | [13 empty] | C | F
Total Watt of Each Solar Panel String | 100 | Watt |  |  |  |  | Total No of Battery in Each String | 20 | Nos | [13 empty] | 6.7 | 20 | 1.59
Total No of Solar Panel in Each String | 20 | Nos | [20 empty] | 1.1 | 30 | 1.4
[7 empty] | Total Battery Bank Amp.Hr | 10 | Amp.Hr | [13 empty] | 4 | 40 | 1.3
Total Watts of Solar Panel | 100 | Watt |  |  |  |  | Total Nos of Batteries in Battery Bank | 20 | Nos | [13 empty] | 10 | 50 | 1.19
Total Nos of Solar Panels | 0 | Nos | [20 empty] | 15.6 | 60 | 1.11
[23 empty] | 21.2 | 70 | 1.04
:SIZE OF INVERTOR: | [22 empty] | 26.7 | 80 | 1
[7 empty] | CALCULATIONS: | [11 empty] | string | amp.hr | No | Total |  |  |  |  | 1
Effieciency of Invertor | 90 | % |  |  |  |  | Total KW.Hr/Day | 10.5 | Watt.Hr/Day | [5 empty] | 1 |  | series | 10 | 1 | 0 | 20 | 20 | C° | 1 |  |  | string | amp.hr | No | Total
Enter Additional futurte Load Expansion | 10 | % |  |  |  |  | Total Amp.Hr | 0.04375 | Amp.Hr | [5 empty] | 0 |  | Parral | 0 | 0 | 0 | 20 | 0 | F° | 1 | 1 | series | 1 | 0 | 20 | 0 | 100
Size of Invertor | 12.8333 | KW |  |  |  |  | Average Load | 0.0525 | Amp.Hr | [5 empty] | 0 |  | series-Parral | 0 | 0 | 0 | 20 | 0 | 2 | 1 | 0 | Parral | 0 | 0 | 20 | 0 | 0
[7 empty] | Storage Required | 0.13125 | Amp.Hr | [13 empty] | Series | 1 | FALSE | series-Parral | 0 | 0 | 20 | 0 | 0
[7 empty] | Battery Aging | 0.1575 | Amp.Hr | [13 empty] | Parral
[7 empty] | Including Operating Temp | 0.1575 | Amp.Hr | [6 empty] | 1 | O.K | 10 | 1 | 0 | 20 | 20 | Series-Parral |  | 1 | O.K | 1 | 0 | 20 | 0 | 100
[7 empty] | Depth of Discharge | 0.315 | Amp.Hr | [6 empty] | 2 | Select other Type of Connecion | [7 empty] | 2 | Select other Type of Connecion
[16 empty] | 3 | Select other Type of Connecion | [7 empty] | 3 | Select other Type of Connecion | 0 | 0 | 20 | 0 | 0

## Electrical Load
https://www.flasysdesign.com/
ELECTRICAL LOAD DETAIL | [6 empty] | Email: contact@flasysdesign.com
Sr.No | Equiment Name | No | Watt | Using Hr/Day | Watt Hr./Day
1 |  |  |  |  | 0 | 0
2 |  | 1 | 10.5 | 1 | 10.5 | 10.5
3 |  |  |  |  | 0 | 0
4 |  |  |  |  | 0 | 0
5 |  |  |  |  | 0 | 0
6 |  |  |  |  | 0 | 0
7 |  |  |  |  | 0 | 0
8 |  |  |  |  | 0 | 0
9 |  |  |  |  | 0 | 0
10 |  |  |  |  | 0 | 0
11 |  |  |  |  | 0 | 0
12 |  |  |  |  | 0 | 0
13 |  |  |  |  | 0 | 0
14 |  |  |  |  | 0 | 0
15 |  |  |  |  | 0 | 0
16 |  |  |  |  | 0 | 0
17 |  |  |  |  | 0 | 0
18 |  |  |  |  | 0 | 0
19 |  |  |  |  | 0 | 0
20 |  |  |  |  | 0 | 0
21 |  |  |  |  | 0 | 0
22 |  |  |  |  | 0 | 0
23 |  |  |  |  | 0 | 0
24 |  |  |  |  | 0 | 0
25 |  |  |  |  | 0 | 0
26 |  |  |  |  | 0 | 0
27 |  |  |  |  | 0 | 0
28 |  |  |  |  | 0 | 0
29 |  |  |  |  | 0 | 0
30 |  |  |  |  | 0 | 0
31 |  |  |  |  | 0 | 0
32 |  |  |  |  | 0 | 0
33 |  |  |  |  | 0 | 0
34 |  |  |  |  | 0 | 0
35 |  |  |  |  | 0 | 0
36 |  |  |  |  | 0 | 0
37 |  |  |  |  | 0 | 0
38 |  |  |  |  | 0 | 0
39 |  |  |  |  | 0 | 0
40 |  |  |  |  | 0 | 0
41 |  |  |  |  | 0 | 0
42 |  |  |  |  | 0 | 0
43 |  |  |  |  | 0 | 0
44 |  |  |  |  | 0 | 0
45 |  |  |  |  | 0 | 0
46 |  |  |  |  | 0 | 0
47 |  |  |  |  | 0 | 0
48 |  |  |  |  | 0 | 0
49 |  |  |  |  | 0 | 0
50 |  |  |  |  | 0 | 0
51 |  |  |  |  | 0 | 0
52 |  |  |  |  | 0 | 0
53 |  |  |  |  | 0 | 0
54 |  |  |  |  | 0 | 0
55 |  |  |  |  | 0 | 0
56 |  |  |  |  | 0 | 0
57 |  |  |  |  | 0 | 0
58 |  |  |  |  | 0 | 0
59 |  |  |  |  | 0 | 0
60 |  |  |  |  | 0 | 0
61 |  |  |  |  | 0 | 0
62 |  |  |  |  | 0 | 0
63 |  |  |  |  | 0 | 0
64 |  |  |  |  | 0 | 0
65 |  |  |  |  | 0 | 0
66 |  |  |  |  | 0 | 0
67 |  |  |  |  | 0 | 0
68 |  |  |  |  | 0 | 0
69 |  |  |  |  | 0 | 0
70 |  |  |  |  | 0 | 0
71 |  |  |  |  | 0 | 0
72 |  |  |  |  | 0 | 0
73 |  |  |  |  | 0 | 0
74 |  |  |  |  | 0 | 0
75 |  |  |  |  | 0 | 0
76 |  |  |  |  | 0 | 0
77 |  |  |  |  | 0 | 0
78 |  |  |  |  | 0 | 0
79 |  |  |  |  | 0 | 0
80 |  |  |  |  | 0 | 0
81 |  |  |  |  | 0 | 0
82 |  |  |  |  | 0 | 0
83 |  |  |  |  | 0 | 0
84 |  |  |  |  | 0 | 0
85 |  |  |  |  | 0 | 0
86 |  |  |  |  | 0 | 0
87 |  |  |  |  | 0 | 0
88 |  |  |  |  | 0 | 0
89 |  |  |  |  | 0 | 0
90 |  |  |  |  | 0 | 0
91 |  |  |  |  | 0 | 0
92 |  |  |  |  | 0 | 0
93 |  |  |  |  | 0 | 0
94 |  |  |  |  | 0 | 0
95 |  |  |  |  | 0 | 0
96 |  |  |  |  | 0 | 0
97 |  |  |  |  | 0 | 0
98 |  |  |  |  | 0 | 0
99 |  |  |  |  | 0 | 0
100 |  |  |  |  | 0 | 0
101 |  |  |  |  | 0 | 0
102 |  |  |  |  | 0 | 0
103 |  |  |  |  | 0 | 0
104 |  |  |  |  | 0 | 0
105 |  |  |  |  | 0 | 0
106 |  |  |  |  | 0 | 0
107 |  |  |  |  | 0 | 0
108 |  |  |  |  | 0 | 0
109 |  |  |  |  | 0 | 0
110 |  |  |  |  | 0 | 0
111 |  |  |  |  | 0 | 0
112 |  |  |  |  | 0 | 0
113 |  |  |  |  | 0 | 0
114 |  |  |  |  | 0 | 0
115 |  |  |  |  | 0 | 0
116 |  |  |  |  | 0 | 0
117 |  |  |  |  | 0 | 0
118 |  |  |  |  | 0 | 0
119 |  |  |  |  | 0 | 0
120 |  |  |  |  | 0 | 0
121 |  |  |  |  | 0 | 0
122 |  |  |  |  | 0 | 0
123 |  |  |  |  | 0 | 0
124 |  |  |  |  | 0 | 0
125 |  |  |  |  | 0 | 0
126 |  |  |  |  | 0 | 0
|  |  | Total |  | 10.5 | Watt.Hr/Day
10.5