## CUF
Capacity Utilization Factor (CUF)
https://www.flasysdesign.com/
Email: contact@flasysdesign.com
| Type of Solar (Select from Dropdown) | Rooftop Solar |  | Rooftop Solar | 14-20%
|  |  |  | Ground Mount Solar | 17-25%
| Installed Capacity (kW): | 100 |  | Tracking Solar | 22-30%
| Total Energy Generated in a Year (kWh): | 127750
| Total Hours in a Year: | 8760
| CUF (%) | 14.5833
| RECOMMENDED RANGE OF CUF | 14-20%