Grid Feed-in & Net Metering Calculation (For On-Grid Systems)

# 1. Introduction

Grid feed-in and net metering are essential concepts in on-grid solar power systems, allowing users to supply excess electricity to the grid and receive credits. This document provides detailed formulas and calculations for net metering analysis.

# 2. Key Definitions

- Grid Feed-in: The amount of electricity exported to the grid from the solar system.

- Net Metering: A billing arrangement where excess electricity is credited against grid consumption.

- Energy Exported (E_exp): Surplus electricity sent to the grid.

- Energy Imported (E_imp): Electricity drawn from the grid when solar generation is insufficient.

- Net Energy (E_net): Difference between imported and exported energy.

# 3. Formulas for Grid Feed-in & Net Metering Calculation

### 3.1 Net Energy Calculation

Enet=Eimp-Eexp

Where:

- Enet = Net Energy (kWh)

- Eimp = Energy imported from the grid (kWh)

- Eexp = Energy exported to the grid (kWh)

### 3.2 Monthly Energy Balance

Emonthly=Esolar-Eload

Where:

- Emonthly = Monthly net solar energy contribution (kWh)

- Esolar = Monthly solar energy generated (kWh)

- Eload = Monthly energy consumed (kWh)

### 3.3 Net Metering Credit Calculation

Ccredit=Eexp×Tgrid

Where:

- Ccredit = Credit received (currency units)

- Tgrid = Grid feed-in tariff (currency/kWh)

### 3.4 Grid Independence Ratio

GIR=EsolarEload×100

Where:

- GIR = Grid independence ratio (%)

# 4. Sample Calculation

| Parameter | Value |
| --- | --- |
| Solar Energy Generated (E_solar) | 500 kWh |
| Energy Consumed (E_load) | 400 kWh |
| Energy Exported to Grid (E_exp) | 100 kWh |
| Energy Imported from Grid (E_imp) | 50 kWh |
| Feed-in Tariff (T_grid) | 5 INR/kWh |
| Credit Earned | 100 kWh × 5 INR = 500 INR |
| Net Energy (E_net) | 50 kWh |
| Grid Independence Ratio | (500/400) × 100 = 125% |

# 5. Conclusion

By utilizing net metering, solar system owners can reduce electricity bills and maximize savings. The above calculations help in understanding energy flows and financial benefits of an on-grid system.