# PV Array Sizing Calculation (Considering Available Roof/Ground Space)

## 1. Introduction

PV array sizing is a crucial step in designing a solar power system. It ensures that the available space is optimally utilized to meet the required energy output. This document provides a detailed calculation method, including electrical formulas and tables, for determining the maximum number of solar panels that can be installed on a given rooftop or ground area.

## 2. Parameters Required for Calculation

- Available area (A): Roof or ground space available for solar panel installation (m²)

- Panel dimensions (L × W): Length and width of a single solar panel (m)

- Panel efficiency (η): Efficiency of the solar module

- Inter-panel spacing (S): Space required between panels for maintenance and shading avoidance (m)

- Tilt angle considerations: Adjustments in spacing due to panel tilt

- Row-to-row spacing (D): Distance between two consecutive rows in case of tilted panels (m)

- Total system capacity (P_system): Required system capacity (kW)

- Panel capacity (P_panel): Rated power output of one solar panel (W)

## 3. Calculation Method

### 3.1 Number of Panels That Can Fit in the Available Space

#### For Flat Mounting (Zero Tilt Angle):

Npanels=AL×W+S

#### For Tilted Mounting:

Npanels=AL×W+S+D

Where:

- Npanels = Maximum number of solar panels that can be installed

- A = Available area (m²)

- L,W = Length and width of the solar panel (m)

- S = Inter-panel spacing (m)

- D = Row-to-row spacing (m) due to tilt

### 3.2 Total PV Array Capacity Calculation

Parray=Npanels×Ppanel

Where:

- Parray = Total installed PV capacity (kW)

- Ppanel = Capacity of a single panel (W)

- Npanels = Number of installed panels

## 4. Example Calculation

### Given Data:

- Available area (A) = 100 m²

- Panel dimensions: 2.0 m × 1.0 m

- Panel capacity: 400 W

- Inter-panel spacing (S) = 0.1 m

- Row-to-row spacing (D) = 0.5 m

### Step 1: Number of Panels Calculation

Npanels=1002.0×1.0+0.1+0.5=1002.6≈38

### Step 2: Total PV Array Capacity

Parray=38×400=15.2kW

## 5. Table for Quick Reference

| Available Area (m²) | Panel Size (m²) | Inter-panel Spacing (m) | Row Spacing (m) | Max Panels | Total Capacity (kW) |
| --- | --- | --- | --- | --- | --- |
| 50 | 2.0 × 1.0 | 0.1 | 0.5 | 19 | 7.6 |
| 100 | 2.0 × 1.0 | 0.1 | 0.5 | 38 | 15.2 |
| 200 | 2.0 × 1.0 | 0.1 | 0.5 | 76 | 30.4 |

## 6. Conclusion

This document provides a structured approach to PV array sizing, ensuring optimal utilization of available space. By using these calculations, one can estimate the maximum number of solar panels that can be installed and the total system capacity that can be achieved.