Shading Analysis & Tilt Angle Optimization Calculation for Rooftop and Ground Mount Solar Power Plants

# 1. Introduction

Shading and tilt angle optimization are critical for maximizing solar energy generation. This document outlines the calculation methods, formulas, and tabular data for assessing shading impact and optimizing the tilt angle of solar panels.

# 2. Shading Analysis Calculation

## 2.1 Factors Affecting Shading

- Nearby buildings or trees

- Self-shading in rows of panels

- Seasonal variations in the sun's position

## 2.2 Solar Elevation Angle Calculation

The solar elevation angle (β) determines the height of the sun in the sky:

β=90∘-ϕ+δ

Where:

- ϕ = Latitude of the site (degrees)

- δ = Solar declination angle (varies with the day of the year)

## 2.3 Shading Angle (α) Calculation

α=tan-1HD

Where:

- H = Obstacle height (m)

- D = Distance from the obstacle (m)

## 2.4 Shadow Length Calculation

L=H×tan90∘-β

Where:

- L = Shadow length (m)

### Shading Analysis Table

| Obstacle Height (H) | Distance (D) | Shading Angle (α) | Shadow Length (L) |
| --- | --- | --- | --- |
| 3m | 5m | 30° | 2.89m |
| 5m | 8m | 32° | 3.50m |

# 3. Tilt Angle Optimization Calculation

## 3.1 Optimal Tilt Angle Formula

For fixed-tilt systems, the optimum angle is:

θopt=ϕ±15∘

Where:

- θopt = Optimal tilt angle (degrees)

- ϕ = Latitude of the site (degrees)

- "+15°" for winter and "-15°" for summer optimization

## 3.2 Adjusted Tilt for Maximum Energy

The following formula helps refine tilt angle:

θadj=tan-1HD

Where:

- H = Panel height (m)

- D = Row spacing (m)

### Optimal Tilt Angle Table

| Location Latitude | Fixed Tilt (Year-Round) | Winter Tilt (+15°) | Summer Tilt (-15°) |
| --- | --- | --- | --- |
| 20°N | 20° | 35° | 5° |
| 30°N | 30° | 45° | 15° |
| 40°N | 40° | 55° | 25° |

# 4. Conclusion

By minimizing shading and optimizing tilt angles based on location and seasonal variations, solar energy production can be maximized. Proper shading analysis ensures reduced losses, while optimized tilt angles improve efficiency.