# Cost-Benefit Analysis & ROI Calculation for Solar Power Plants

## 1. Introduction

Cost-Benefit Analysis (CBA) and Return on Investment (ROI) calculations help assess the financial viability of solar power plants. This document provides a structured method for evaluating project costs, benefits, and expected returns.

## 2. Capital Costs (CAPEX)

Capital expenditure (CAPEX) includes the upfront costs of purchasing and installing a solar power plant.

| Cost Component | Estimated Cost (INR or USD) |
| --- | --- |
| Solar Panels |  |
| Inverters |  |
| Mounting Structures |  |
| Battery Storage (if applicable) |  |
| Installation & Labor Costs |  |
| Permits & Miscellaneous |  |

## 3. Operating & Maintenance Costs (OPEX)

Operating costs include annual maintenance, repairs, insurance, and other recurring expenses.

| Expense Type | Annual Cost (INR or USD) |
| --- | --- |
| Regular Maintenance |  |
| Insurance |  |
| Inverter Replacement (every 10-15 years) |  |
| Miscellaneous |  |

## 4. Energy Generation & Savings

Annual energy generation depends on system capacity, solar irradiance, and efficiency.

Formula for Annual Energy Generation (kWh):

E = P × H × PR

Where:

E = Energy generated annually (kWh)

P = Installed capacity of the solar plant (kW)

H = Annual average peak sunlight hours

PR = Performance ratio (typically 0.75 - 0.85)

## 5. Revenue & Savings Calculation

Annual savings and revenue depend on energy generation and electricity rates.

Formula for Annual Savings:

Savings = E × Tariff

Where:

E = Annual energy generation (kWh)

Tariff = Electricity cost per kWh

## 6. Return on Investment (ROI) Calculation

Formula for ROI:

ROI (%) = [(Total Savings - Total Costs) / Total Costs] × 100

Formula for Payback Period:

Payback Period = Total Investment / Annual Savings

## 7. Conclusion

This cost-benefit analysis helps in determining the financial feasibility of a solar power project by considering all capital and operational costs, energy savings, and expected returns.