## FINANCIAL ANALYSIS
Financial Analysis & Calculation Sheet for Solar Power Plants
FINANCIAL ANALYSIS |  |  |  | Total Project Cost Estimation |  |  |  |  | https://www.flasysdesign.com/
Email: contact@flasysdesign.com
|  |  |  | COMPONENT |  | DESCRIPTION |  | VALUE (INR)
| Annual Energy Generation (kWh) | 4352.625
[5 empty] | Solar Panels | Monocrystalline/Bifacial |  | 180000
| Annual Cost Savings (INR) | 29815.4812 |  |  | Inverters | On-Grid
[5 empty] | Mounting Structure | Racking & tracking system
| Total Savings | 298154.8125 |  |  | Electrical Components | Cables, Junction Boxes, Breakers, etc.
[5 empty] | Civil Work | Foundation, Site Prep, Fencing
| ROI (%) | 65.6416 |  |  | Installation & Labor | Engineering & Construction
[5 empty] | Permitting & Licensing | Regulatory approvals
| Payback Period (Years) | 6.0371 |  |  | Monitoring System | SCADA & Data Acquisition |  | 0
[5 empty] | Land Cost (if applicable) | Cost of land for ground-mounted plants
| Levelized Cost of Energy (LCOE) | 6.2032 |  |  | Miscellaneous | Other expenses
[5 empty] | Total Cost | Sum of all above |  | 180000
| Net Investment | 72000
Subsidy & Incentive Calculation
|  |  |  | INCENTIVE TYPE |  | DESCRIPTION | VALUE (INR)
[5 empty] | Federal Tax Credit | % deduction from project cost | 108000
[5 empty] | State Incentives | Rebates per kW installed
| P_Installed = Installed Solar Capacity (kW): |  | 3 |  | Net Metering Benefits | Revenue from excess energy fed to grid
[5 empty] | Depreciation Benefits | Tax savings on asset depreciation
[6 empty] | Sum of all above | 108000
| H_Peak = Peak Sun Hours per Year: |  | 5.3
Energy Tariff Savings Analysis
| PR = Performance Ratio (typically 75%-85%): |  | 75 | PARAMETER |  | BEFORE SOLAR | AFTER SOLAR
[5 empty] | Monthly Energy Consumption (kWh) | 500 | 137.2812
| Tariff = Electricity Rate per kWh (INR/kWh): |  | 6.85 |  | Grid Electricity Tariff (INR/kWh) | 6.85 | 6.85
[5 empty] | Monthly Electricity Bill (INR) | 3425 | 940.3766
[5 empty] | Savings from Solar per month (INR) | 0 | 2484.6234
| System Lifetime (Years): |  | 10 |  | Net Monthly Bill including fix charge (INR) | 3575 | 1090.38
Annual Savings (INR)
| O&M Cost over Lifetime: | 90000 |  |  | This financial analysis provides a structured method to evaluate the economic feasibility of solar power plants. It enables investors and developers to make informed decisions based on project costs, savings, and financial returns.