# Surge Protection & Lightning Arrester Sizing (Including IEC and Other Standards)

## 1. Introduction

Proper surge protection and lightning arresters are crucial for safeguarding solar power plants from transient overvoltages caused by lightning strikes and switching surges. This document provides a detailed calculation methodology based on IEC and other international standards.

## 2. Applicable Standards

| Standard | Description |
| --- | --- |
| IEC 62305 | Protection against lightning |
| IEC 61643 | Surge protective devices |
| IEC 60364 | Electrical installations of buildings |
| IEEE 998 | Guide for direct lightning stroke protection |
| NFPA 780 | Standard for installation of lightning protection systems |
| IS 3043 | Code of practice for earthing |

## 3. Surge Protection Device (SPD) Sizing

### Selection of SPD Based on IEC 61643:

#### Formula for SPD Voltage Rating:

USPD=1.2×Unom Where:

- USPD = SPD voltage rating

- Unom = Nominal system voltage

#### Surge Current Capacity Calculation:

ISPD=Qt Where:

- ISPD = Surge current rating (kA)

- Q = Charge transferred (Coulombs)

- t = Surge duration (seconds)

## 4. Lightning Arrester Sizing

### Direct Strike Protection Based on IEC 62305:

#### Rolling Sphere Method Calculation:

R=10×h Where:

- R = Rolling sphere radius (m)

- h = Height of the arrester (m)

#### Lightning Current Peak Value:

Ilightning=Qt Where:

- Ilightning = Peak lightning current (kA)

- Q = Charge transferred (Coulombs)

- t = Time duration (seconds)

## 5. Grounding Resistance Calculation for Lightning Protection (As per IS 3043)

#### Formula for Earth Resistance:

Rg=ρ2πLln4Ld Where:

- Rg = Grounding resistance (Ω)

- ρ = Soil resistivity (Ωm)

- L = Length of the grounding electrode (m)

- d = Diameter of the grounding electrode (m)

## 6. Typical Surge Protection & Lightning Arrester Selection Table

| System Voltage | SPD Voltage Rating | Surge Current Capacity | Lightning Arrester Height | Protection Level |
| --- | --- | --- | --- | --- |
| 230V | 275V | 40kA | 5m | Level I |
| 400V | 550V | 60kA | 8m | Level II |
| 11kV | 12kV | 80kA | 10m | Level III |
| 33kV | 36kV | 100kA | 15m | Level IV |

## 7. Conclusion

Proper selection of surge protection devices and lightning arresters, following IEC and other standards, ensures reliable and safe operation of solar power plants. Regular testing and maintenance are necessary to uphold protection efficiency.